Building asset performance assessment template

Department

Building asset details

| Building asset name |  | Description |
| --- | --- | --- |
| Region/District |  | Date assessed |
| Address |  | Assessor’s name |
|  |  | Assessor’s telephone |

Note: This template is intended as a guide only.  Departments may customise it to suit their particular requirements and the application of specific measures against performance indicators.

1.0 Building asset classification

1.1 Category of building asset

| Category | Description of role | Tick one only | Comments |
| --- | --- | --- | --- |
| Operational | Used for delivery of core departmental services (e.g. teaching block, police station, hospital). |  |  |
| Ancillary | Used for support functions (e.g. storage sheds, administration, training). |  |  |
| Non-operational | Surplus or de-commissioned (e.g. assets awaiting disposal). |  |  |
| Administered | Administered on behalf of the Government (e.g. heritage and cultural assets). |  |  |

1.2 Building asset criticality

| Rating | Criticality (importance to service delivery) | Tick one only | Comments |
| --- | --- | --- | --- |
| 5 | Vital to service delivery operations. High profile and extremely difficult to replace or find short-term service delivery alternative if damaged or otherwise adversely affected. |  |  |
| 4 | Important to service delivery operations but can be reasonably quickly replaced with alternative. |  |  |
| 3 | Service delivery will be affected with no major implications and alternative asset is readily available. |  |  |
| 2 | Support function only and has no direct impact on service delivery. Alternative is readily available. |  |  |
| 1 | No impact on service delivery. Asset may be surplus or administered only. |  |  |

2.0 Appropriateness

2.1 Capacity

•	Factors to consider include: nature of services delivered; space or other standard based on service delivery requirements; capacity to accommodate people and equipment; and demand projections for services based on demographics.

| Rating | Performance measure | Tick one only | Comments |
| --- | --- | --- | --- |
| 5 | Exceeds service delivery needs/expectations (e.g. there is potential for sharing with other departments). |  |  |
| 4 | Meets all service delivery needs for current and foreseeable future (3-5 years). |  |  |
| 3 | Meets all current service delivery needs. |  |  |
| 2 | Below service delivery requirements. Some impact on service delivery. Action required. |  |  |
| 1 | Significantly below service delivery requirements. Significant action required. |  |  |

2.2 Functionality

•	Factors to consider include: size, shape and configuration; services and facilities; suitability of building asset or space for intended purpose; and flexibility to be changed to suit a new purpose.

| Rating | Performance measure | Tick one only | Comments |
| --- | --- | --- | --- |
| 5 | Exceeds service delivery needs/expectations (e.g. there is potential for sharing with other departments). |  |  |
| 4 | Meets all service delivery needs for current and foreseeable future (3-5 years). |  |  |
| 3 | Meets all current service delivery needs. |  |  |
| 2 | Below service delivery requirements. Some impact on service delivery. Action required. |  |  |
| 1 | Significantly below service delivery requirements. Significant action required. |  |  |

2.3 Location

•	Factors to consider include: location relative to current and future demand for services; dynamic population demographics; and accessibility of location for occupants and clients/visitors.

| Rating | Performance measure | Tick one only | Comments |
| --- | --- | --- | --- |
| 5 | Suitably located to meet current demand and in the foreseeable future (3-5 years). |  |  |
| 4 | Suitable for current demand but site has potential for better use. Demand can be met through an alternative location. |  |  |
| 3 | Location is marginally suitable. Demand at this location needs to be monitored. |  |  |
| 2 | Demand is changing rapidly and location needs review. |  |  |
| 1 | Location is very unsuitable for meeting demand. |  |  |

2.4 Condition

| Rating | Performance measure | Tick one only | Comments |
| --- | --- | --- | --- |
| 5 | No defects; as new condition and appearance. |  |  |
| 4 | Minor defects; superficial wear and tear; some deterioration to finishes; major maintenance not required. |  |  |
| 3 | Average condition; significant defects are evident; worn finishes require maintenance; services are functional but need attention; deferred maintenance work exists. |  |  |
| 2 | Badly deteriorated; potential structural problems; inferior appearance; major defects; components fail frequently. |  |  |
| 1 | Building has failed; not operational; not viable; unfit for occupancy or normal use; environmental/contamination/pollution issues exist. |  |  |

2.5 Remaining life

•	Factors to consider include: overall age and condition compared with design life projections; impact of technological changes on future usefulness; need for upgrades to meet future requirements; type of construction; and operating and maintenance costs.

| Indicator | Performance measure | Result | Comments |
| --- | --- | --- | --- |
| Remaining life | Estimated years to end of useful or economical life |  |  |

3.0 Financial

| Indicator | Performance measure | Result | Comments |
| --- | --- | --- | --- |
| Operating cost | $ per square metre |  |  |
| Maintenance cost | $ per square metre |  |  |
| Deferred maintenance cost | Estimated cost of deferred maintenance as a % of gross book value of asset |  |  |
| Net return on asset value (Note: This is an optional indicator for departments with revenue-generating assets) | Net revenue as a % of gross book value of asset |  |  |

4.0 Statutory compliance risk

| Indicator | Performance measure | Tick one or more | Comments |
| --- | --- | --- | --- |
| Extent of non-compliance (Identify the area of non-compliance that exists) | Workplace health and safety |  |  |
|  | Fire protection |  |  |
|  | Environmental |  |  |
|  | Building Act |  |  |
|  | Electrical |  |  |
|  | Other (provide details) |  |  |
| Estimated cost to remedy non-compliance | $ |  |

5.0 Effective use

5.1 Utilisation rate

| Indicator | Performance measure | Result | Comments |
| --- | --- | --- | --- |
| Utilisation rate | Level of utilisation as a percentage of available capacity based on department-specific measure |  |  |

5.2 Compatibility of use (compared with the design purpose of the asset)

Note: This is an optional indicator which may be used by departments if it is considered relevant to the performance assessment being undertaken.

| Rating | Performance measure | Tick one only | Comments |
| --- | --- | --- | --- |
| 5 | Compatible with design purpose in all aspects of use |  |  |
| 4 | Mainly compatible with design purpose but used for other purposes as well |  |  |
| 3 | Multi-use including design purpose (e.g. residence used as office, used as a residence and other purposes also) |  |  |
| 2 | Not compatible — higher level use (e.g. storage shed used as workshop) |  |  |
| 1 | Not compatible — lower level use (e.g. teaching block used as a store or vacant space) |  |  |

6.0 Environmental impact

6.1 Impact on environment (hazardous materials/contamination issues)

| Indicator | Performance measure | Tick one or more | Comments |
| --- | --- | --- | --- |
| Impact of building asset on environment (Identify the type of hazardous material/contamination issue present) | Asbestos |  |  |
|  | Sewage and contaminated water |  |  |
|  | Hazardous chemicals |  |  |
|  | Odours and fumes |  |  |
|  | Land contamination |  |  |
|  | Other (provide details) |  |  |

6.2 Impact on environment (consumption)

| Indicator | Performance measure | Result | Comments |
| --- | --- | --- | --- |
| Impact of building asset on environment | Water consumption ($ per square metre) |  |  |
|  | Energy consumption ($ per square metre) |  |  |

Environmental rating system assessment (optional indicator): reflecting achievement in meeting the objectives and specific criteria of a particular environmental rating system suitable to the type of building asset and the department’s and Government’s priorities.

Information on commonly understood and accepted rating systems, tools and performance criteria is outlined in the Department of Public Works’ advice note, Environmental Rating Systems and Government Buildings.

7.0 Social significance

7.1 Significance of building asset — Method A

| Indicator | Performance measure | Tick one or more | Comments |
| --- | --- | --- | --- |
| Significance in meeting government priorities or community obligations | Cultural heritage significance |  |  |
|  | Heritage listed (Queensland Heritage Register) |  |  |
|  | Community attachment |  |  |
|  | Iconic (community pride) |  |  |
|  | Government commitment |  |  |
|  | Other (provide details) |  |  |

7.2 Significance of building asset — Method B (see note below)

| Indicator | Performance measure | Achievement or future potential to achieve (yes/no) | Comments |
| --- | --- | --- | --- |
| Significance in meeting government priorities or community obligations | Whole-of-Government outcome (department-specific) |  |  |
|  | Government priority (department-specific) |  |  |
|  | Outputs being delivered (department-specific) |  |  |
|  | Goals being met (department-specific) |  |  |
|  | Service-related performance indicator applicable to the building/facility (department-specific) |  |  |

Note: This is an alternative approach and examines whether the building asset:

•	still supports, and will continue to support, the whole-of-Government outcome and government priority to be delivered by the department

•	continues to deliver the outputs it was intended to deliver, in line with the whole-of-Government outcome and government priority

•	still meets, and will continue to meet, the goals established

•	meets targets in terms of specific service-related performance indicators (e.g. number of escapes from a custodial facility; patients processed by an outpatients department).

| Assessor’s comments |
| --- |
| Assessor’s signature |  | Date |